{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["1-5月"],"read":"whole","date_system":"1900"}

{"sheet":"1-5月","index":0,"n_rows":32,"n_cols":6,"rows_kept":32,"merged":[[0,0,0,5],[1,0,2,0],[1,1,2,1],[1,2,2,2],[1,3,2,3],[1,4,2,4],[1,5,2,5],[31,0,31,5]]}
["2015全年各部门水量消耗公示表"]
["序号","部门","用水区域","消耗量\n（m³）","比去年同期增减比例","节水改造\n情况"]
[]
[1,"中文系","文科南楼3-5层\n文科楼D区3层",4371,null,"已完成"]
[2,"教育系","文科南楼1-2层\n文科楼北楼5层\n文科楼D区2层",7455,null,"南楼已完成\n北楼未完成"]
[3,"教师教育学院","文科北楼1-4层",7068,null,"未完成"]
[4,"社会科学部","外语南楼一楼西",539,null,"已完成"]
[5,"大学外语教育部","外语南楼一楼东",554,null,"已完成"]
[6,"外国语系","外语南楼2-4层",878,null,"已完成"]
[7,"文化传播系","外语北楼1-2层",1819,null,"已完成"]
[8,"经济与管理系","外语北楼3-6层",2806,null,"已完成"]
[9,"音乐系","音乐楼",2896,null,"未完成"]
[10,"体育系","体育楼",8219,null,"未完成"]
[11,"各系共用","东西操场厕所",6496,null,"未完成"]
[12,"美术系","美术楼",10051,null,"未完成"]
[13,"图书馆","图书楼",7716,null,"已完成"]
[14,"物理与信息工程系\n化学与化工系\n生命科学与工程系\n文化传播系","实验楼",12420,null,"未完成"]
[15,"化学与化工系","机电楼南楼3-5层",4256,null,"已完成"]
[16,"计算机科学系\n","机电楼南楼1层西、2层、\n机电北楼",5591,null,"已完成"]
[17,"物理与信息工程系\n","理科南楼1-2层\n理科北楼2层\n理科楼B座2层",5041,null,"已完成"]
[18,"生命科学与工程系","理科南楼3-4层",4198,null,"已完成"]
[19,"数学系","理科北楼3-5层\n理科楼B座3层",4355,null,"已完成"]
[20,"实验教学管理中心","理科南楼5层\n外语南楼5层",{"$f":"863+312","v":1175},null,"已完成"]
[21,"学工处公寓管理中心","学生公寓11栋楼",242765,null,"宿舍供水已实行“定量管理”"]
[22,"后勤处餐饮服务中心","东西餐厅",41998,null,"水费上缴财务"]
[23,"安全保卫处","校区南大门",312]
[24,"车管科","洗车台",126]
[25,"后勤处","后勤维修队",182]
[26,"后勤处","校园绿化灌溉",3203]
[27,"继续教育学院、离退休工作处\n（老干部活动中心）"," 济宁校区",8417,null,"已做节水综合治理"]
[28,"各行政职能部门","行政办公楼",1426,null,"已完成"]
["备注：\n此数据是以各部门（教学楼）为单位进行统计，为今后供电实行定量管理提供参考。\n                      \n                                 制表：水电暖管理办公室     时间：2016年1月6日"]